The Johan Hamaker Meqsperience
O. Smirnov (ASTRON)

---
Part 1: The Unknown Knowns
Part 1: Fundamentals

---
The Measurement Equation:
Putting the “Meq” into MeqTrees!
The Measurement Equation tells you what you can expect to observe with an interferometer, given a sky and the properties of your instrument.
Absolutely crucial for simulating and calibrating the next generation of radio telescopes; everything literally revolves around it.
Therefore: no-one gets any beer tonight until we achieve full harmony and understanding!

---
A Wafer-Thin Slice of Physics:
EM Field Propagation
size 24 { "Pick an " xyz " frame with " z " along the direction of propagation." } newline size 24 { "The EM field can be described by the complex vector "vec e = left ( binom e_x e_y right ) } newline size 24 { "The fundamental assumption is " bold "LINEARITY": } newline alignl size 24 { "1. Propagation through a medium is linear" } newline alignl size 24 { ~~~ drarrow " can be fully described by a 2x2 complex matrix:"} newline size 24 { vec e' = bold J vec e ~~~"i.e."~~~ size 24 { left ( binom {e'_x} {e'_y} right ) = left ( matrix{<?> # <?> ## <?> # <?>} right ) left ( binom e_x e_y right ) } } newline alignl size 24 { "2. Receptor voltages " vec v = left ( binom{v_x}{v_y} right ) " are also linear w.r.t. " vec e } newline size 24 { drarrow ~~vec v = bold J vec e }

---
A Wafer-Thin Slice of Physics:
Jones Matrices
alignl size 24 { "* " bold J " is called a " italic "Jones matrix." } newline alignl size 24 { "* " bold J " is obviously cumulative: " } newline size 24 { vec v = {bold J}_n ( {bold J}_{n-1} ( ... {bold J}_1 vec e )) = (prod csub {i=n} csup 1 {bold J}_i ) vec e = {bold J} vec e } newline size 24 { " where " {bold J}_1 ... {bold J}_n " describes the full signal path." } newline size 24 { "* Do remember that matrices, in general, do not commute."} newline newline size 24 { "NB: What if something is non-linear?.." } newline alignl size 24 { "...we can also write down an equation: " vec v = size 36 %jcall (vec e) } newline alignr size 24 { "...but this is to be avoided if at all possible." }

---
A Wafer-Thin Slice of Physics:
Correlations & Visibilities
size 24 { "An interferometer measures " ital "coherencies" " btw vectors " {vec e}_p,{vec e}_q:} newline size 24 { e_xx = langle e_px e_qx^%star rangle, e_xy = langle e_px e_qy^%star rangle,e_yx = langle e_py e_qx^%star rangle, e_yy = langle e_py e_qy^%star rangle } newline size 24 { "It is convenient to represent these as a matrix product:" } newline size 24 { {bold V}_pq = langle {vec e}_p {vec e}^{%dagger}_q rangle = langle left ( stack{e_px # e_py} right ) (e^%star_qx`e^%star_qy) rangle = left ( matrix{e_xx # e_xy ## e_yx # e_yy} right ) } newline size 24 { "(" langle ` rangle ": time/freq averaging; " %dagger ": conjugate-and-transpose)" } newline size 24 { {bold V}_pq " is also called the " ital "visibility matrix." } newline newline alignl size 24 { italic "Now let's assume that all radiation arrives from a single point," } newline alignl size 24 { italic "and designate the \"source\" E.M. vector by " vec e. }

---
A Wafer-Thin Slice of Physics:
The M.E. Emerges
alignl size 24 { "Antennas " p,q " then measure: " {vec v}_p = {bold J}_p vec e, ~~ {vec v}_q = {bold J}_q vec e } newline alignl size 24 { "where " {bold J}_p,{bold J}_q " are Jones matrices describing the signal paths"} newline alignl size 24 { "from the source to the antennas." } newline size 24 { "Then " {bold V}_pq = langle ({bold J}_p vec e ) ({bold J}_q vec e)^%dagger rangle = langle {bold J}_p (vec e {vec e}^{%dagger} ) {bold J}_q^%dagger rangle = {bold J}_p langle vec e {vec e}^{%dagger} rangle {bold J}_q^%dagger } newline size 20 { "(making use of " (bold AB)^%dagger = {bold B}^%dagger{bold A}^%dagger ", and " underline "assuming" ~ {bold J}_p " is constant over " langle rangle ")" } newline size 24 { "The inner quantity is known as the " ital "source coherency" ":" } newline size 24 { bold B = langle vec e {vec e}^%dagger rangle = 1 over 2 left ( matrix {I+Q # U+-%i V ## U-+%i V # I-Q } right ) ~ %lrarrow ~ (I,Q,U,V) } newline size 24 { "which we can also call the " italic "source brightness." " Thus:" } newline {bold V}_pq = {bold J}_p bold B {bold J}^{%dagger}_q

---
And That's The Measurement Equation!
{bold V}_pq = {bold J}_p bold B {bold J}^{%dagger}_q
Or in more pragmatic terms:
left ( matrix{XX # XY ## YX # YY} right ) overbrace "measured" = left ( matrix{j_{xx(p)} # j_{xy(p)} ## j_{yx(p)} # j_{yy(p)} } right ) overbrace {size 24 bold J}_p {1 over 2 left ( matrix{I+Q#U+%i V##U-%i V#I-Q} right )} overbrace "source" left ( matrix{j^%star_{xx(q)} # j^%star_{yx(q)} ## j^%star_{xy(q)} # j^%star_{yy(q)} } right ) overbrace {size 24 bold J}^{%dagger}_q
NB: it is also possible to write the ME with a circular polarization basis (RR, LL, etc.) We'll use linear polarization throughout.

---
Accumulating Jones Terms
size 24 { "If " {bold J}_p,{bold J}_q " are products of Jones matrices: " } newline size 24 { {bold J}_p = {bold J}_pn ... {bold J}_p1, ~~ {bold J}_q = {bold J}_qm ... {bold J}_q1 } newline size 24 { "Since " (bold AB)^%dagger = {bold B}^{%dagger}{bold A}^{%dagger}, " the M.E. becomes:" } newline {bold V}_pq = {bold J}_pn ... {bold J}_p2 {bold J}_p1 bold B {bold J}^{%dagger}_q1 {bold J}^{%dagger}_q2 ... {bold J}^{%dagger}_qm newline newline size 24 { "or in the \"onion form\":" } newline newline {bold V}_pq = {bold J}_pn ( ... ( {bold J}_p2 ( {bold J}_p1 bold B {bold J}^{%dagger}_q1 ) {bold J}^{%dagger}_q2 ) ... ) {bold J}^{%dagger}_qm

---
Jones' Anatomy
Jp is “cumulative”: more effects correspond to additional multiplicative Jones terms.
Therefore, the “total” Jp is a matrix product of a “Jones chain” of individual effects:
     Jp = Jpn Jpn-1 ... Jp1
The order of the J terms corresponds to the physical order of the effects. In general, the matrices don't commute!

---
Why is this great?
A complete and mathematically elegant framework for describing all kinds of signal propagation effects.
...including those at the antenna, e.g.:
  - beam & receiver gain
  - dipole rotation
  - receptor cross-leakage
Effortlessly incorporates polarization:
  - think in terms of a B matrix and never worry about polarization again.
Applies with equal ease to heterogeneous arrays, by using different Jones chains.

---
Why is this even greater?
Most effects have a very simple Jones representation:
"gain:" ~ bold G = { left ( matrix{g_x # 0 ## 0 # g_y} right ) } overbrace ital "diagonal matrix" ~~~~ "phase delay": ~ { left ( matrix{e^{-%i %phi} # 0 ## 0 # e^{-%i %phi}} right ) } overbrace ital "scalar matrix" equiv e^{-%i %phi} newline alignc "rotation:" ~ left ( matrix{ cos %gamma # -sin %gamma ## sin %gamma # cos%gamma } right ) equiv " Rot"(%gamma) ital size 18 " (rotation matrix)" newline [ ~ "e.g. Faraday rotation": ~ bold F = "Rot"("RM" over %nu^2) ~ ] newline alignc "receptor cross-leakage": ~ bold D = left ( matrix{1 # d ## -d # 1} right ) ~~~ "(or Rot"(d)"?)"

---
Three Layers Of Intuition
Physical: e.g. beam gain, parallactic angle
  - beam pattern of X and Y dipoles different, causes polarization of off-center sources
  - P.A. rotates polarization angle
Geometrical: stretching, rotation
  - do not commute...
Mathematical: matrix properties
size 24 { bold G = left ( matrix{g_x # 0 ## 0 # g_y} right ) " and " bold P = left ( matrix{ cos %gamma # -sin %gamma ## sin %gamma # cos%gamma } right ) " do not commute."}

---
ME ME ME
The general formulation above is “The Measurement Equation” (of a generic radio interferometer...)
When we want to simulate a specific instrument, we put specific Jones terms into the ME, and derive a measurement equation for that instrument.
We then implement that specific m.e. in software (e.g. with MeqTrees)
Existing packages implicitly use specific m.e.'s of their own.

---
Part 2: Lonely Lowly Point Source

---
Observing a point source
with a perfect instrument
size 24 { "Even w/o instrumental effects, we still have geometry, so: " } newline {bold V}_pq = {bold K}_p {bold B} {bold K}^{ %dagger }_q newline size 24 { {bold K}_p " is the " italic "phase shift" " term, a " ital bold "scalar" " Jones matrix:" } newline size 24 { {bold K}_p = left ( matrix{e^{-%i %phi_p} # 0 ## 0 # e^{-%i %phi_p}} right ) equiv e^{-%i %phi_p} } newline alignl size 24 { italic "Antenna phase " %phi_p " accounts for the pathlength difference: " } newline size 24 { %phi_p = 2%pi (u_p %l + v_p %m + w_p (%n-1)) } newline alignl size 24 { "where " u_p,v_p,w_p " are " ital "antenna coordinates" " (in wavelengths)," } newline alignl size 24 { "and " %l,%m,%n " are the direction cosines for the source."} newline size 20 { ( %n=sqrt {1-%l^2-%m^2} ", for \"small\" fields " %n toward 1. ) }

---
The (familiar?)
Scalar Case
size 24 { "'Classic' (scalar) visibility of a source:"} newline v_pq = I e^{ - %i %phi_pq} newline size 24 { "where " %phi_{pq} " is the " italic "interferometer phase difference:"} newline size 24 { %phi_pq = 2%pi (u_pq %l + v_pq %m + w_pq (%n-1)) } newline newline alignl size 24 { "Baseline coordinates " {vec u}_pq = (u_pq,v_pq,w_pq) } newline size 24 { "have a very simple relationship to antenna coordinates." } newline

---
Antenna UVWs
and Antenna Phase
size 24 { "Pick an arbitrary reference point " O.} newline size 24 { {vec u}_p equiv vec{OP}, ~ {vec u}_q equiv vec{OQ}, ~ {vec u}_pq equiv vec{QP} } newline size 24 { "Then regardless of which " O " we picked,"} newline size 24 { {vec u}_pq = {vec u}_p - {vec u}_q, " i.e." } newline size 24 { u_pq = u_p - u_q,~ v_pq = v_p - v_q,~ w_pq = w_p - w_q} newline size 24 { "and for phases: " %phi_pq = %phi_p - %phi_q. } newline size 24 { drarrow ~ e^{-%i %phi_pq} = e^{-%i(%phi_p-%phi_q)}=e^{-%i%phi_p} e^{%i%phi_q} = e^{-%i%phi_p} (e^{-%i%phi_q})^%star }
{vec u}_pq
Q
P
{vec u}_p
{vec u}_q
size 20 { "(And if you're used to thinking in terms of closure phases:" } newline size 24 { %phi_pq+%phi_qr+%phi_rp = %phi_p-%phi_q+%phi_q-%phi_r+%phi_r-%phi_p = 0 ~ ")" }
O

---
The (familiar?)
Scalar Case
size 24 { "We can decompose each " ital "interferometer" " phase term"} newline size 24 { "into a pair of " ital "antenna" " phases:"} newline v_pq = e^{-%i%phi_p}I(e^{-%i%phi_q})^%star newline newline size 24 "compare this to:" newline {bold V}_pq={bold K}_p bold B {bold K}^{%dagger}_q, newline size 24 { "with " ~ bold B = 1 over 2 left ( matrix{I # 0 ## 0 # I} right )}

---
K: A Jones In Its Own Right
The interferometer phase term is traditionally considered separately; however, it fits the Jones formalism like a glove.
K combines two physical effects:
  - pathlength difference
  - time delays (i.e. fringe stopping)
Scalar matrices commute with everything, so we're allowed to “merge” these two effects and shift the resulting K's around.
NB: K is scalar only for co-located receivers:
  - moral: keep your dipoles together!
Forget about the Fourier Transform for now...

---
Implicit m.e.'s
(“What Would AIPS Do?”)
Pre-ME packages use some implicit, specific, form of the ME
For example, a perfect point source:
size 24 { v_{xx,pq} = size 16{1 over 2} (I+Q) e^{-%i%phi_pq} = e^{-%i%phi_p}(I+Q)(e^{-%i%phi_q})^%star } newline size 24 { v_{yy,pq} = size 16{1 over 2} (I-Q)e^{-%i%phi_pq} = e^{-%i%phi_p}(I-Q)(e^{-%i%phi_q})^%star } newline size 24 "etc..." newline size 24 "compare this to:" newline size 24 { {bold V}_pq={bold K}_p bold B {bold K}^{%dagger}_q, } newline size 24 { "with " ~ bold B = 1 over 2 left ( matrix{I+Q # 0 ## 0 # I-Q} right )}

---
Introducing Complex Gains
The “classic” view: each receiver has a complex amplitude and phase term (troposphere/electronics/etc.)
size 24 { v_{xx,pq} = size 16{1 over 2} (I+Q) e^{-%i%phi_pq}g_{x,p}g^%star_{x,q}} newline size 24 { v_{yy,pq} = size 16{1 over 2} (I-Q)e^{-%i%phi_pq}g_{y,p}g^%star_{y,q}} newline size 24 { v_{xy,pq} = size 16{1 over 2} (U+%i V) e^{-%i%phi_pq}g_{x,p}g^%star_{y,q}} newline size 24 { v_{yx,pq} = size 16{1 over 2} (U-%i V)e^{-%i%phi_pq}g_{y,p}g^%star_{x,q}} newline

---
Gains: The ME View
{bold V}_pq = {bold G}_p{bold K}_p {bold B} {bold K}^{ %dagger }_q {bold G}^{ %dagger }_q newline newline newline {bold G}_p = left ( matrix{g_{x,p} # 0 ## 0 # g_{y,p} } right )

---
Polarization Leakage
In real life, some of the X dipole signal is picked up by Y and vice versa
This is caused by dipole orientation errors, electrical cross-talk, etc.
Must be calibrated out, unfortunately
The “classic” formulation handles this by introducing cross-talk terms into the equations...

---
“Didn't your mother ever warn you not to play with polarization?”
(With thanks to Huib Jan van Langevelde)

---
The Classical Approach
To Polarization Calibration

---
Leakage: The ME View
{bold V}_pq = {bold G}_p{bold K}_p {bold B} {bold K}^{ %dagger }_q {bold G}^{ %dagger }_q newline newline {bold G}_p = left ( matrix{g_{11,p} # g_{12,p} ## g_{21,p} # g_{22,p} } right )
The only difference w.r.t. the previous m.e. is that the G matrix has off-diagonal terms.

---
The ME & MeqTrees
What do we need to do?
Simulation
  - build an ME to model your simulated instrument/observation
  - evaluate this ME over a frequency/time grid
  - store “model” visibilities to disk
Calibration (self-cal)
  - build an ME to model your observation
  - evaluate over frequency/time grid
  - compare to observed visibilities, and adjust model for best fit
  - optional: subtract model from data, store “residual” visibilities to disk

---
Part 3: Full Skies

---
A Sky Of Point Sources
size 24 {"Our instrument is linear, so for " N " point sources, we observe:"} newline {bold V}_pq = sum csub {s=1} csup N {bold V}_{pq}^{(s)} = sum csub s {bold J}^{(s)}_{pn}...{bold J}^{(s)}_{p1} {bold B}^{(s)} {bold J}^{(s)%dagger}_{q1} ... {bold J}^{(s)%dagger}_{qn} newline newline alignl size 24 {"In principle, every source " s " and antenna " p " is a separate "} newline alignl size 24 {"line-of-sight, with its own set of Jones matrices " {bold J}_{p1}^{(s)}...{bold J}_{pn}^{(s)}.} newline alignl size 24 {"In practice, some " {bold J} " terms are the same for directions,"} newline alignl size 24 {"so we end up with an M.E. that looks like, e.g.:"} newline newline {bold V}_pq = {bold G}_p underbrace size 12 binom "\"uv-plane" " effects\"" left ( sum csub s { {bold E}^{(s)}_p underbrace size 12 binom "\"image-plane" " effects\"" {{bold K}^{(s)}_p {bold B}^{(s)} {bold K}^{(s)%dagger}_{q}} underbrace {{bold X}_pq^(s)} {bold E}^{(s)%dagger}_{q} } right ) {bold G}^{%dagger}_q

---
A Sky Of Point Sources
{bold V}_pq = {bold G}_p underbrace size 12 binom "\"uv-plane" " effects\"" left ( sum csub s { {bold E}^{(s)}_p underbrace size 12 binom "\"image-plane" " effects\"" {bold X}_pq^(s) {bold E}^{(s)%dagger}_{q} } right ) {bold G}^{%dagger}_q newline size 24 { "intrinsic source coherency: " } {bold X}_pq^(s) = {bold K}^{(s)}_p {bold B}^{(s)} {bold K}^{(s)%dagger}_{q}
uv-plane effects apply to all directions (i.e. all sources) equally
  - e.g. receiver gain
image-plane effects depend on direction
  - e.g. beam pattern
source coherency is (in a sense) intrinsic, so we will often just use Xpq from here on.

---
The Full-Sky ME
size 24 { "ME of a single point:" } newline {bold V}_pq = {bold J}_p {bold B} {bold J}^{ %dagger }_q newline size 24 {"The sky has a brightness density: "} {bold B}(vec %sigma) newline size 24 {"(where " vec %sigma " is a unit direction vector)"} newline size 24 {"So the total visibility is obtained by integrating over a sphere:"} newline newline {bold V}_pq = int csub {"sky"} {bold J}_p(vec %sigma){bold B}(vec %sigma){bold J}^{%dagger}_q(vec %sigma)d%OMEGA newline newline size 24 { "This is not very useful, so we project " bold B " onto " } newline size 24 { "the " %l%m " plane, tangential at the phase centre..." } newline

---
The Full-Sky ME
size 22{ "When projecting an integral, we must also project the integration volume:"} newline size 24 { d%OMEGA = {d%l d%m} over sqrt{1-%l^2-%m^2} = {d%l d%m} over %n, } newline size 22 { "and in the " %l%m " plane we get:" } newline newline {bold V}_pq = iint csub {%l%m} {bold J}_p(%l,%m){bold B(%l,%m)} over {%n(%l,%m)} {bold J}^{%dagger}_q(%l,%m)d%l d%m newline newline

---
Image-plane vs. uv-plane
size 24 { {bold J}_p " is composed of multiple effects: " {bold J}_p = {bold J}_pn {bold J}_{pn-1} ... {bold J}_p1} newline size 24 { ( {bold J}_pn " is \"in the receiver\", " {bold J}_p1 " is \"in the sky\"." )} newline size 24 { "Some " {bold J}"'s do not vary with " %l,%m " -- call them " ital "uv-plane effects." } newline alignr size 24 { "e.g. receiver gain, leakage." } newline size 24 { "Some " {bold J}"'s do vary with " %l,%m " -- call them " ital "image-plane effects." } newline alignr size 24 { "e.g. " bold K ", beam gain, ionosphere" } newline size 24 {"Let's rewrite the " {bold J}_p " product as: " } newline size 24 { {bold J}_p = {{bold J}_pn ... {bold J}_{pk+1}} overbrace {"uv-plane only"} underbrace {{bold G}_p} {bold K}_p {{bold J}_{pk-1} ... {bold J}_p1} overbrace {"uv- & image-plane"} underbrace {{bold E}_p(%l,%m)} } newline size 24 { "Or in other words, " {bold J}_p(%l,%m) = {bold G}_p {bold K}_p(%l,%m) {bold E}_p(%l,%m) } newline size 24 { ("and depending on our particular M.E., " bold G " or " bold E " may be " equiv bold 1) }

---
And Back To The ME....
{bold V}_pq = iint csub {%l%m} {bold J}_p(%l,%m){bold B(%l,%m)} over {%n(%l,%m)} {bold J}^{%dagger}_q(%l,%m)d%l d%m newline newline size 24 { "then becomes: "} newline newline {bold V}_pq = {bold G}_p left ( iint csub {%l%m} {bold K}_p {bold E}_p bold B over %n {bold E}^{%dagger}_q {bold K}^{%dagger}_q d%l d%m right ) {bold G}^{%dagger}_q newline newline size 24 { "(with everything under the " iint " being a function of " %l,%m ")" }

---
The Fourier Transform
size 24 { "and now expanding the " bold K " terms:"} newline {bold V}_pq = {bold G}_p left ( iint csub {%l%m} ({bold E}_p bold B over %n {bold E}^{%dagger}_q) e^{-{2%pi%i}(u_pq%l+v_pq%m+w_pq(%n-1))} d%l d%m right ) {bold G}^{%dagger}_q newline newline size 24 { "for narrow fields " %n toward 1 "(and for coplanar arrays " w=0 "), so:"} newline {bold V}_pq = {bold G}_p left ( iint csub {%l%m} ({{bold E}_p bold B {bold E}^{%dagger}_q} underbrace "\"apparent sky\"") {e^{-{2%pi%i}(u_pq%l+v_pq%m)}} underbrace "F.T. kernel" d%l d%m right ) {bold G}^{%dagger}_q
The integral then becomes a 2D Fourier transform of the “apparent sky”.

---
The Fourier Transform 2
This is essentially the van Cittert-Zernike theorem
  - ...as a simple consequence of the M.E. and our K Jones term.
Note that the original M.E. (Hamaker-Bregman-Sault, “ME Paper I”) was formulated purely in terms of cohaerency:
...so here we extend the M.E. into the image plane.
{ {bold V}_pq = {bold G}_p bold X(u_pq,v_pq) {bold G}^{%dagger}_q } newline size 24 { "where the cohaerency " bold X(u,v) " is the F.T. of the sky " bold B(%l,%m) } newline

---
The Fly In The Ointment
{bold V}_pq = {bold G}_p left ( iint csub {%l%m} ({bold E}_p {bold B}over %n {bold E}^{%dagger}_q)e^{{-2%pi%i}(u_pq%l+v_pq%m+w_pq(%n-1))} d%l d%m right ) {bold G}^{%dagger}_q
In the general case, the exponent is not quite an F.T. kernel.
Let's collect the n-terms into an “N-Jones”, and define an “apparent projected sky”:
{bold B}_pq = {bold %N}_p {bold E}_p bold B {bold E}^{%dagger}_q {bold %N}^{%dagger}_q = {bold %N}_pq {bold E}_p bold B {bold E}^{%dagger}_q newline size 24 { " where " {bold %N}_p = 1 over sqrt %n e^{-2%pi%i%w_p(%n-1)}, ~ {bold %N}_pq = {bold %N}_p {bold %N}^%dagger_q } newline size 24 { "(for narrow fields and/or coplanar arrays, " {bold %N}_p toward 1 ")" }

---
Apparent Skies & Apparent Cohaerencies
size 24 {"We now have: "} newline {bold V}_pq = {bold G}_p left ( iint csub {%l%m} {bold B}_pq e^{-{2%pi%i}(u_pq%l+v_pq%m)} d%l d%m right ) {bold G}^{%dagger}_q = {bold G}_p {bold X}_pq {bold G}^{%dagger}_q, newline size 24 { "where " {bold X}_pq = size 36 %fcall ( {bold B}_pq ) = size 36 %fcall ( %N_p {bold E}_p bold B {bold E}^%dagger_q %N^%dagger_q ) }
In other words, each antenna pair p-q measures an apparent cohaerency distribution Xpq(u,v) that corresponds to a 2D Fourier Transform of its own apparent projected sky Bpq.
...at a single point in time!

---
Time Is Not On Our Side
Cohaerencies are sampled along a “uv track” over some period of time:
{bold V}_pq(t) = {bold G}_p(t) {bold X}_pq(t,u(t),v(t)) {bold G}^{%dagger}_q(t)
The true sky B is probably constant(?) in time
Image-plane effects (beam shapes, ionosphere) will vary:
  - ...both in time
  - ...and across antennas
All this is especially relevant with low-frequency and/or wide-field observations.

---
The “Classic” Assumptions
size 24 {"The full-sky ME: " } {bold V}_pq = {bold G}_p {bold X}_pq {bold G}^{%dagger}_q, newline size 24 { "where " {bold X}_pq = size 36 %fcall({bold B}_pq), ~{bold B}_pq = {bold %N}_p {bold E}_p bold B {bold E}^{%dagger}_q {bold %N}^%dagger_p }newline newline size 24 { "If we assume that " {bold B}(t) equiv {bold B}, " and "{bold E}_p(t) equiv {bold E}_p equiv bold E, " and " {bold %N}_p toward 1, } newline size 24 "then all baselines will see the same, constant apparent sky: " newline {bold B}_{pq}(t) = bold E bold B {bold E}^%dagger equiv {bold tilde B} newline size 24 "and the array will sample one apparent cohaerency plane: " newline {bold X}_pq(t,u,v) equiv {bold X}(u,v)
Only under these assumptions can we consider a single F.T. of the sky to be an accurate representation of what an interferometer sees.

---
Conclusions
Under the “classic” assumptions, the visibilities measured by an array correspond to ONE cohaerency distribution X that is in an F.T. relationship with ONE apparent sky.
In the presence of non-trivial image plane effects, and/or with wide fields and noncoplanar arrays, each interferometer p-q measures its “own” cohaerency Xpq(t), corresponding to its “own” apparent sky Bpq(t) -- variable in time!
The K term becomes an F.T. kernel with narrow FOVs/coplanar arrays, but is “not quite” an F.T. otherwise.

---
Part 3.1: Perils Of The Ionosphere

---
Ionosphere In The M.E.
alignl size 24 { "The ionosphere introduces two effects:" } newline alignl size 24 { " * phase delay ("bold Z"-Jones)" } newline alignl size 24 { " * Faraday rotation ("bold F"-Jones)" } newline alignl size 24 { "Ignoring the " w"-term for now, we get:"} newline size 28 { {bold V}_pq = {bold G}_p left ( iint csub {%l%m} {bold Z}_p {bold F}_p bold B {bold F}^{%dagger}_q {bold Z}^{%dagger}_q e^{-{2%pi%i}(u_pq%l+v_pq%m)} d%l d%m right ) {bold G}^{%dagger}_q } newline size 24 { bold Z(%l,%m) = e^{-%i %zeta(%l,%m)} } newline size 24 { bold F = Rot%phi = left ( matrix{cos %phi # -sin %phi ## sin %phi # cos %phi} right ) } newline size 24 { %phi = "RM" cdot %lambda^2 } newline

---
Some Ballpark Numbers
alignl size 24 { bold Z = e^{-%i %zeta} } newline alignl size 24 {~~~ "Ionospheric phase delay: " %zeta approx 25 cdot %lambda cdot "TEC" } newline alignl size 24 {~~~ "e.g. at " %lambda=1m ", " %DELTA"TEC" = 0.1" corresponds to " %zeta=2.5 " rad" } newline newline alignl size 24 { bold F = Rot("RM" cdot %lambda^2) } newline alignl size 24 { ~~~ "Ionospheric rotation measure is proportional to TEC," } newline alignl size 24 { ~~~ "but also depends on the Earth's magnetic field."} newline alignl size 24 { ~~~ "Typical RM values are " 1-10 " rad/m"^2 } newline alignl size 20 { ~~~ "(and the differential RM is a lot smaller, so we ignore it...)" } newline

---
The Famous Four Regimes:
the trivial...
size 24 { {bold V}_pq = {bold G}_p left ( iint csub {%l%m}{bold Z}_p bold B {bold Z}^{%dagger}_q e^{-{2%pi%i}(u_pq%l+v_pq%m)} d%l d%m right ) {bold G}^{%dagger}_q } newline newline alignl size 24 { bold "Small array, narrow field: " {bold Z}_p(%l,%m) simeq {bold Z} " for all " %l,%m,p:} newline size 24 { {bold V}_pq = {bold G}_p left ( iint csub {%l%m} bold B e^{-{2%pi%i}(u_pq%l+v_pq%m)} d%l d%m right ) {bold G}^{%dagger}_q ~~~ ("since " bold Z {bold Z}^%dagger=1) } newline size 24 { "" drarrow "we don't see any effect."} newline newline alignl size 24 { bold "Small array, wide field: " {bold Z}_p(%l,%m) simeq {bold Z}(%l,%m) " for all " p:} newline size 24 { {bold V}_pq = {bold G}_p left ( iint csub {%l%m} bold B e^{-{2%pi%i}(u_pq%l+v_pq%m)} d%l d%m right ) {bold G}^{%dagger}_q ~~~ ("since " bold Z {bold Z}^%dagger=1) } newline size 24 { "" drarrow "we don't see any effect."}

---
The Famous Four Regimes:
the simple, and the nasty
size 24 { {bold V}_pq = {bold G}_p left ( iint csub {%l%m}{bold Z}_p bold B {bold Z}^{%dagger}_q e^{-{2%pi%i}(u_pq%l+v_pq%m)} d%l d%m right ) {bold G}^{%dagger}_q } newline newline alignl size 24 { bold "Large array, narrow field: " {bold Z}_p(%l,%m) simeq {bold Z}_p " for all " %l,%m} newline size 24 { {bold V}_pq = {bold G}_p {bold Z}_p left ( iint csub {%l%m} bold B e^{-{2%pi%i}(u_pq%l+v_pq%m)} d%l d%m right ) {bold Z}^{%dagger}_q {bold G}^{%dagger}_q } newline size 24 { "" drarrow "we absorb it in " bold G " phases during calibration."} newline newline alignl size 24 { bold "Large array, wide field: " " different "{bold Z}_p(%l,%m) } newline size 24 { "" drarrow "this is the general ME above."} newline newline

---
Part 4: Calibration

---
“Classic” Self-calibration
(for phases/gains)
alignl size 24 { "Assume this m.e.: " v_{pq} = g_p I(%l,%m) e^{-2%pi%i (u_pq %l + v_pq %m + w_pq (%n-1)) } g^%star_q } newline newline alignl size 24 {"1. Assume some source brightness, " b} newline alignl size 24 {"2. Derive \"model\" coherencies: " x_pq = be^{-%i%varphi_pq} } newline alignl size 24 {"3. Predict \"corrupted\" model: " x'_pq = g_p x_{pq}g^%star_q } newline alignl size 24 {"4. Find " g_p "s by fitting " x'_{pq} " to observed " v_{pq} } newline alignl size 24 {"5. Compute \"corrected\" visibilities: " v'_{pq} = v_{pq} {g_p^-1 (g_q^-1)^%star} } newline newline alignl size 24 {"The \"corrected\" visibilities should then correspond "} newline alignl size 24 {"to the \"true\", uncorrupted source."} newline

---
The M.E. Analogue
alignl size 24 { "Assume this m.e.: " {bold V}_{pq} = {bold G}_p {bold K}_p bold B {bold K}^%dagger_q {bold G}^%dagger_q } newline newline alignl size 24 {"1. Start with a model for the source, " {bold B}} newline alignl size 24 {"2. Derive \"model\" coherencies: " {bold X}_pq = {bold K}_p bold B {bold K}^%dagger_q } newline alignl size 24 {"3. Predict \"corrupted\" model: " {bold X}'_pq = {bold G}_p {bold X}_{pq}{bold G}^%dagger_q } newline alignl size 24 {"4. Find " {bold G}_p "s by fitting " {bold X}'_{pq} " to observed " {bold V}_{pq} } newline alignl size 24 {"5. Compute \"corrected\" visibilities: " {bold V}'_{pq} = {bold G}^{-1}_p {bold V}_{pq}({bold G}^{-1}_q)^%dagger } newline alignr size 24 { " (note that " ({bold G}^%dagger)^{-1} = ({bold G}^{-1})^%dagger ")" } newline newline alignl size 24 {"The \"corrected\" visibilities should then correspond "} newline alignl size 24 {"to the \"true\", uncorrupted source."} newline

---
Can We Correct Visibilities?
In general, no. Recall the full-sky ME:
uv-plane effects (the Gs) can be taken out by simple matrix inversion/multiplication
Image-plane effects (the Es) cannot
{bold V}_pq = {bold G}_p left ( iint csub {%l%m} ({bold E}_p bold B over %n {bold E}^{%dagger}_q) e^{-{2%pi%i}(u_pq%l+v_pq%m+w_pq(%n-1))} d%l d%m right ) {bold G}^{%dagger}_q newline

---
Can We Correct Visibilities?
Image-plane effects correspond to convolution in the uv-plane:
alignl size 24 { {bold V}_pq =size 36 %fcall({bold E}_p{bold B}{bold E}^{%dagger}_q) = size 36 %fcall({bold E}_p) circ size 36 %fcall({bold B}) circ size 36 %fcall({bold E}^{%dagger}_q)}
  - ...with time-variable kernels
  - ...and with each baseline's uv-plane sampled along just a single track
(Note: Bhatnagar et al. (EVLA Memo 100) suggest a method for approximate correction during the imaging step. We'll return to this later.)

---
Correcting At
A Single Point
alignl size 24 { "But we can correct for a single point " %l_0,%m_0: } newline {bold V}'_pq = {bold Z}_p(%l_0,%m_0)^{-1} {bold V}_pq{bold Z}^{-1}_q(%l_0,%m_0)^%dagger "=" newline alignc "=" size 36 %fcall left (({bold Z}_p(%l_0,%m_0))^{-1}{bold Z}_p {bold B} {bold Z}_q^%dagger({bold Z}^{%dagger}_q(%l_0,%m_0))^{-1} right ) newline alignc "=" size 36 %fcall({bold B}') newline newline alignl size 24 { "where " {bold B}'(%l_0,%m_0) = {bold B}(%l_0,%m_0)," but diverges further away." }
In general, uv-data can only be “corrected” for a single point on the sky.
Hence, e.g., multifacet imaging.

---
Implications?
For calibration, we need to predict & subtract bright sources accurately in the presence of image-plane effects
The M.E. provides all the mathematical apparatus to do this right
The residuals may still need to be corrected...

---
Example:
WSRT Off-Axis Effects
Single band (56 channels)
298 sources subtracted
σ ~ 30uJy
dominated by residuals from imperfectly-subtracted fainter sources
...which are caused by:
(a) imperfect sky model (more deconvolving would help)
(b) image plane effects: pointing errors, tropospheric refraction, ...
  - no direct cure in NEWSTAR
polarized, 40 mJy
3C147, 22 Jy
35 mJy
20 mJy

---
Differential Gains
We can write an m.e. with differential gains:
size 32 { {bold V}_pq = {bold G}_p overbrace size 12 "gain & bandpass" {left ( sum csub {s} {{%DELTA{bold E}_p^(s)} overbrace size 12 binom{"differential"}{" gain"}} {{bold E}_p^(s) overbrace size 12 "beam"} {{bold X}_pq overbrace size 12 binom{" source"}{"coherency"}} {bold E}^{(s)%dagger}_q %DELTA{bold E}^{(s)%dagger}_q right )} underbrace size 12 "sum over sources" {bold G}^{%dagger}_q } newline newline alignl size 24 { %DELTA{bold E}_p^(s) " is frequency-independent, slowly varying in time."} newline alignl size 24 { "Solvable for a handful of \"troublesome\" sources,"} newline alignr size 24 { "and set to unity for the rest." }

---
Flyswatter I
The “before” image.
polarized, 40 mJy
3C147, 22 Jy
20 mJy
35 mJy

---
Flyswatter II
Solved for ΔE for
5 sources.
polarized, 40 mJy
3C147, 22 Jy
20 mJy
35 mJy

---
Flyswatter III
Solved for ΔE for
10 sources.
polarized, 40 mJy
3C147, 22 Jy
20 mJy
35 mJy

---
The End!